## Technical task

General technical data:

- Microprocessor device.

- Remote diagnostics, maintenance and adjustment

- Easy replacement of the sensor without removing the rod.

- AISI304 stainless steel rod

- Ingress protection IP68 (XMT version)

- Certificates: ATEX CESI e INERIS – mark

- Calculation:

  - product level of 0.1 mm;

  - the level of produced water in 0.1 mm;

  - average temperature (up to 10 sensors inside the rod)

- Standard measurement accuracy: ± 0.5 mm

- Temperature measurement accuracy in the range of -20+70 °C: ±0.2 °C

- Ambient temperature: -40°C to 60°C

Main properties:

| PARAMETER | MEANING |
| --- | --- |
| Substances to be measured | Gasoline, diesel fuel |
| Level measurement error | ± 0.5mm |
| Sensitivity of level measurements | 0.1 mm |
| Repeatability of level measurements | ± 0.1mm |
| Supply voltage | 9 ÷ 30 V DC |
| Consumption current | < 30 mA |
| Maximum load | 500 Om |
| Temperature measurement error | ± 0,5 °C |
| Temperature measurement range | -25°C ÷ +130°C |
| Temperature measurement sensitivity | ±0,0625 °C |
| Ambient temperature | -40°C ÷ +60°C |
| Degree of explosion protection | II 1/2 GD EEx d IIB T6 ATEX CE,II 1G Ex ia IIB T4 II 1D Ex tD A20 T135°C CEC 09 ATEX 131 |
| Communication interface | RS-485 or wireless |

Technical features:

| PARAMETER | MEANING |
| --- | --- |
| Corps | Ø 110 mm |
| Float | Ø 50 mm (other sizes - on request) |
| Rod | Ø 14/16/17 mm |
| Level Measurement Height Range | 200 ÷ 4500 mm |