## ОЛ Таблица
Digital pressure gauge - № _________
№ п/п | Requested data | Unit | Technical specifications, data
1 | Appointment of the device | – | For accurate pressure measurement
5 | Overload | – | 1,5 х Electric rectifier
6 | Accuracy class | % | 0,04
7 | Display | – | Backlit LCD, 5 digits, digit height 16.8 mm
8 | Power | – | AA batteries (2 pcs.) up to 900 h(rechargeable)
9 | Operating / storage temperature | С° | (-10...+50)
10 | Degree IP | – | IP65
11 | Body diameter | mm | 100
12 | Connector |  | Stainless steel AISI304
13 | Connection |  | Radial
14 | Connection thread |  | M20×1,5
15 | Additional requirements | – | Charger, AA batteries (2 pcs.). Case;
16 | Documentation requirements | – | Passport of measuring instruments with indication of the date of verification and the verification period shall expire not less than 1 year from the date of acceptance of the equipment to the Customer; Certificate of type approval of measuring instruments, type description of measuring instruments, Methodology of verification of measuring instruments, Availability of a certificate of compliance with the safety requirements of the equipment for operation in explosive atmospheres", All accompanying documents must be in Russian or English. Interverification interval 2 years Valve block for pressure gauge and damper in the complete set
Начальник участки КИПиА |  |  | ___________________А.А.Саидов
Начальник ОАиМ |  |  | ___________________С.З.Файзиев