| LOT No. 1 / LOT 1 |  |  |  |
| --- | --- | --- | --- |
| No. | Nomenclature | Unit rev. | Qty |
| 1 | Gate valve 30S41NZh DN25 PN16 (1.6 MPa) KOF GOST 9544-2005 | set | 1 |
| 2 | Gate valve 30LS15NZh DN50 PN16 (1.6 MPa) KOF HL GOST 9544-2005 | set | 50 |
| 3 | Gate valve 30LS15NZh DN50 PN40 (4.0 MPa) KOF KhL GOST 9544-2005 | set | 50 |
| 4 | Gate valve 30LS15NZh DN50 PN 64 ( 6.4 MPa) KOF HL GOST 9544-2005 with KOF | set | 50 |
| 5 | Wedge gate valve manual flanged, with mating flanges and fasteners DN 50; Ru 10.0 MPa | set | 1 |
| 6 | Gate valve ZS 80.16.3330 DN80 PN16 st 20GL with KOF | set | 4 |
| 7 | Gate valve 30S41NZh DN80 PN16 (1.6 MPa) KOF GOST 9544-2005 | set | 24 |
| 8 | Gate valve 30LS15NZh DN80 PN16 (1.6MPa) KOF HL GOST 9544-2005 | set | 100 |
| 9 | Gate valve 30LS15NZh DN80 PN40 (4.0 MPa) KOF HL GOST 9544-2005 | set | 100 |
| 10 | Gate valve 30LS15NZh 80x6.3 Du 80mm, Ru 6.3MPa | set | 20 |
| 11 | Gate valve 30LS15NZh DN80 PN 64 (6.4 MPa) KOF HL GOST 9544-2005 with KOF | set | 50 |
| 12 | Gate valve 31S16NZh DN80 PN160 (16.0 MPa) KOF GOST R 54808-2011 | set | 11 |
| 13 | Gate valve ZS 80.160.3330 DN80 PN160 20GL with KOF | set | 2 |
| 14 | Gate valve 30s41nzh DN80 PN210 with KOF | set | 1 |
| 15 | Gate valve ZS 100.16.3330 DN100 PN16 st 20GL with KOF | set | 4 |
| 16 | Flanged wedge gate valve 31S25NZh DN100 PN16 (1.6 MPa) with KOF | set | 1 |
| 17 | Gate valve 30LS15NZh DN100 PN16 (1.6MPa) KOF HL GOST 9544-2005 | set | 40 |
| 18 | Gate valve 30LS15NZh DN100 PN25 (2.5 MPa) KOF HL GOST 9544-2005 | set | 2 |
| 19 | Gate valve 30LS15NZh DN100 PN64 (6.4MPa) KOF HL GOST 9544-2005 | set | 40 |
| 20 | Gate valve 30LS15NZh DN100 PN 160 (16 MPa) KOF HL GOST 9544-2005 with KOF | set | 50 |
| 21 | Gate valve 31S45NZh DN100 PN160 (16.0 MPa) KOF HL GOST 5762-2002 | set | 26 |
| 22 | Gate valve ZS 150.25.3310 DN150 PN25 st.20 with KOF | set | 2 |
| 23 | Gate valve 31ls40nzh Du150 Ru40 (4.0 MPa) st.20GL with KOF GOST 12821-80 st.09G2S class. A | set | 2 |
| 24 | Gate valve 30LS15NZh DN150 PN40 (4.0 MPa) KOF HL GOST 9544-2005 | set | 1 |
| 25 | Gate valve 30LS15NZh DN150 PN64 (6.4MPa) KOF HL GOST 9544-2005 | set | 40 |
| 26 | Gate valve 30LS15NZh DN150 PN16 (1.6MPa) KOF HL GOST 9544-2005 | set | 40 |
| 27 | Gate valve 30LS15NZh DN200 PN16 (1.6 MPa) KOF HL GOST 9544-2005 with KOF | set | 50 |
| Total |  | 762 |  |  |

| LOT № 2 / LOT 2 |  |  |  |
| --- | --- | --- | --- |
| No. | Nomenclature | Unit rev. | Qty |
| 1 | Gate valve flange manual ZMS-65x21 K1 DN 65 PN 210 kgf/cm2 body st. 30XMA with a set of mating flanges and fasteners TU 3741-001-09212465-20 | set | 10 |
| 2 | Wellhead gate valve ZMS DN50 PN1050 (105MPa) HL GOST 51365-2009 | PCS | 10 |
| 3 | Wellhead gate valve ZMS DN65 PN1050 (105MPa) HL GOST 51365-2009 | PCS | 8 |
| 4 | Gate valve ZMS GRP-80x70 K1 HL | set | 14 |
| 5 | Wellhead gate valve ZMS DN80 PN1050 (105MPa) HL GOST 51365-2009 | PCS | 40 |
| 6 | Direct-flow gate valve ZPSHK 100-16-350 heat-resistant complete with mating flanges | set | 5 |
| Total |  | 87 |  |  |

| LOT № 3 / LOT 3 |  |  |  |
| --- | --- | --- | --- |
| No. | Nomenclature | Unit rev. | Qty |
| 1 | Stop valve with mating flanges and fasteners DN 25; Ru 6.3 MPa | set | 8 |
| 2 | Valve with mating flanges and fasteners DN 25; Ru 1.6 MPa | set | 3 |
| 3 | Shut-off valve, stuffing box, manual DN 25; Ru 16.0 MPa | set | 1 |
| 4 | Shut-off valve, stuffing box, manual DN 25; Ru 16.0 MPa | set | 1 |
| 5 | Valve with mating flanges and fasteners DN 50; Ru 1.6 MPa | set | 4 |
| 6 | Check valve KO 80.16.3312 DN80 PN16 st 20L with KOF | set | 2 |
| 7 | Check valve KO 80.16.3312 DN80 PN16 st 20L with KOF | set | 6 |
| 8 | Swing check valve 19S76NZh DN80 PN160 (16.0 MPa) KOF HL GOST 33423-2015 | set | 4 |
| 9 | Swing check valve 19LS38NZh DN80 PN160 (16.0 MPa) KOF HL GOST18584-73 | set | 1 |
| 10 | Check valve heat-resistant Du80 Ru16.0 MPa | set | 17 |
| 11 | Check valve KO 80.160.3332 DN80 PN160 st 20GL with KOF | set | 2 |
| 12 | Swing check valve 19S76NZh DN80 PN160 (16.0 MPa) KOF HL GOST 33423-2015 | set | 40 |
| 13 | Swing check valve 19LS53NZh DN100 PN40 (4.0 MPa) KOF HL GOST 18584-73 | set | 40 |
| 14 | Check valve heat-resistant Du100 Ru16.0 MPa | set | 5 |
| 15 | Swing check valve 19S76NZh DN100 PN160 (16.0 MPa) KOF HL GOST 33423-2015 | set | 12 |
| 16 | Reverse rotary valve DN100 PN35.0 MPa with KOF | set | 2 |
| 17 | Check valve 19s53nzh Du150 Ru40 with KOF | set | 40 |
| 18 | Swing check valve 19LS38NZh DN150 PN63 (6.3 MPa) KOF HL GOST18584-73 | set | 40 |
| Total |  | 228 |  |  |